OXYGEN ADMINISTRATION

STUDENT GRADING CRITERIA

(Station Time 5 Minutes)

- BSI precautions stated.

a.	Student states they would wear appropriate gloves, eye / face protection.

2.	Identifies oxygen cylinder (3 ways)

a.	Green color

b.	Sticker that says oxygen

c.	Valve

(1) stamped oxygen

(2) 2 -5 pin index

3.	Vents cylinder for 1 second prior to attachment of regulator

- Checks regulator O-ring

a.	Replaces it if missing.

5.	Assemblies regulator to cylinder

a.	Attaches regulator

b.	Opens cylinder valve

c.	Insures no leakage or corrects leakage.

6.	Checks cylinder pressure (Examiner shall ask for gauge reading and safe residual)

a.	States pressure accurately (within 100 p.s.i.) when asked by Examiner.

b.	States safe residual when asked by Examiner (200 p.s.i.)

7.	Attaches non-rebreather mask and sets flow rate at 10-15 lpm

a.	Connects delivery device to flowmeter

b.	Adjusts liter flow to 10 lpm or more

8.	Pre-fills reservoir bag

9.	Asks for in formed consent is patient is conscious.

Must include what you have (oxygen) why you want to administer it and ask permission.

10.	Places and adjusts mask to patient's face

a.	Begins oxygen flow before device is placed on patient

b.	Positions device properly on patient

11.	Removes mask from patient prior to discontinuation of oxygen flow, then shuts off oxygen by closing the cylinder valve

12.	Properly removes regulator from the cylinder

a.	Vents pressure from regulator prior to removal

13.	Maintains safety precautions throughout

a.	Maintains control of cylinder (physical contact with hands to support the cylinder or lays the cylinder

down.

b.	Does not point cylinder at self, patient or bystander when venting prior to attachment

of regulator

c.	Points pressure gauge face away from self, patient or bystanders when opening

cylinder

d.	Properly places assembled unit near the feet of the patient with the cylinder valve pointed in the

same direction the patient’s head is pointed.

14.	Verbalizes two reasons for administering oxygen to the patient.